## Slide 1: Electromyography(EMG) based Robotic Arm
Department of Electrical Engineering,
University of Engineering and Technology, Lahore
Group No: 29
Project Advisor: Dr. Ubaid Ullah Fayyaz
Undergraduate Final Year Project Presentation
Dated: November 9, 2016

## Slide 2: Team Introduction
Ali Yousuf (Team Leader)
2013-EE-039
Specialization: Electronics
Undergraduate Final Year Project Presentation
Dated: November 9, 2016
Mamoon Masud
2013-EE-015
Specialization: Electronics
Zohaib Salahuddin
2013-EE-012
Specialization: Electronics
Maham Nasir Khan
2013-EE-006
Specialization: Computer

## Slide 3: Problem Statement
To propose a cost efficient and adaptive solution for amputees and paralyzed. To provide insight into Limb actuation of a normal person by EMG Signal Insertion.
Undergraduate Final Year Project Presentation
Dated: November 9, 2016

## Slide 4: Proposed Solution
A bionic arm driven by acquiring EMG signals via myoware sensors will provide a robust solution for the amputees.
EMG signals processed will be inserted to provide insight into solution for the paralyzed.
Undergraduate Final Year Project Presentation
Dated: November 9, 2016

## Slide 5: Block Diagram
Undergraduate Final Year Project Presentation
Dated: November 9, 2016
Selection of EMG Electrodes
Signal Filtering and Signal Amplification
Digital Signal Processingand Machine Learning
Instrumentation amplifier and LPF and HPF circuits
3 servos to provide 6 DOFs

## Slide 6: EMG
What is EMG?
  “ EMG is the detection and recording of the electrical signal produced by muscle tissues as it contracts”
Undergraduate Final Year Project Presentation
Dated: November 9, 2016

## Slide 7: Anatomy Overview & Electrode Placement
The muscles of the forearm can be divided into two:
  Anterior or Flexor Compartment
  Posterior or Extensor compartment
The Anterior muscles are further divided into three layers:
  Superficial
  Intermediate
  Deep

## Slide 8: Anterior or Flexor Compartment
We are mainly interested in the superficial
and the intermediate layers.
In surface EMG their signal will be
maximum.
Their will be little or no signal from the
deep layers.
Superficial and Intermediate layers shown
in the figures.

## Slide 9: Posterior or Extensor compartment
The Posterior muscles are divided into
two layers:
  Superficial
  Deep
The Superficial layer is shown on the right
The third electrode is placed on the
‘Extensor Digitorum’ Muscle

## Slide 10: Flow Diagram
Undergraduate Final Year
Project Presentation
Dated: November 9, 2016

## Slide 11: Distinct EMG Signals for Each Gesture
Undergraduate Final Year Project Presentation
Dated: November 9, 2016
EMG SIGNALS FOR FIST FROM THREE SENSORS PLOTTED.

## Slide 12: Distinct EMG Signals for Each Gesture
Undergraduate Final Year Project Presentation
Dated: November 9, 2016
EMG SIGNALS FOR RING FINGER FROM THREE SENSORS PLOTTED.

## Slide 13: FEATURE EXTRACTION
Undergraduate Final Year Project Presentation
Dated: November 9, 2016
After Extensive Review of literature, the following features were decided to be used for Classification:
Integrated EMG.
Mean Absolute Value.
Variance of EMG.
Slope Sign Change.
Zero Crossing.
Root mean Square.
Low frequency Response.
High Frequency Response.
Instantaneous Peak Values.

## Slide 14: MACHINE LEARNING
Undergraduate Final Year Project Presentation
Dated: November 9, 2016
We aim at providing adaptive solution.
EMG SIGNALS vary with their
characteristic features from
one person to another.
Artificial Neural Network and Fuzzy Logic.

## Slide 15: COST EFFECTIVE SOLUTION FOR EMG HAND
Undergraduate Final Year Project Presentation
Dated: November 9, 2016
ITEM | COST ( in Rs.)
EMG SENSOR (x3) | 3000 x 3 = 9000
STM32F4 ( Smaller Demo Board) | 2000
Hand 4 DOF | 9000
TOTAL COST | 20000

## Slide 16: Signal Insertion for paralyzed
Paralyzed persons can’t control their limbs because nerve signals generated by the brain don’t reach limbs, either due to some illness or damage to spinal cord.
Limb muscles can be actuated by an external signal that is similar to the one generated by brain.
Signals generated by the brain can be wirelessly transferred to the limbs using spinal implants and TIENS pads.
Undergraduate Final Year Project Presentation
Dated: November 9, 2016

## Slide 17: What we have done so far?:
Selection & importing EMG sensors.
Custom hand ordering.
Data acquisition from 3 sensors.
Extensive data dumping.
3 actions implemented with 90% success rate.
Undergraduate Final Year Project Presentation
Dated: November 9, 2016

## Slide 18: Hardware
MyoWare Muscle Sensor
Bionic Arm
Undergraduate Final Year Project Presentation
Dated: November 9, 2016

## Slide 19: Hardware
Sensors connected to electrodes.
Undergraduate Final Year Project Presentation
Dated: November 9, 2016

## Slide 20: Applications
Primary Applications
Amputees and those born without limbs will be able to get an affordable prosthetic limb.
Paralyzed persons will be able to use their limbs again.
Undergraduate Final Year Project Presentation
Dated: November 9, 2016

## Slide 21: Applications
Secondary Applications
Gaming and Virtual Reality. No need of camera for gesture recognition.
Insertion of EMG signals can be used for physiotherapy of patients.
Undergraduate Final Year Project Presentation
Dated: November 9, 2016

## Slide 22: Audience
Primary Audience
Amputees ( Military/ LEAs personnel, etc.)
Paralyzed
Healthcare professionals/Hospitals
Secondary Audience
Usage of gesture recognition for gaming and other purposes would open up a much larger market.
Undergraduate Final Year Project Presentation
Dated: November 9, 2016

## Slide 23: Future Deliverables
Improving the gesture recognition algorithm.
Increasing the number of gestures to 10.
Machine learning for feature extraction
Adding wrist & elbow movements for a fully functioning robotic/bionic arm.
Insertion of EMG signal into hand for paralyzed person.
Wireless data transfer between sensors and hand.
Undergraduate Final Year Project Presentation
Dated: November 9, 2016

## Slide 24: Gantt Chart
2016
2017
Today
06
07
08
09
10
11
12
2017
02
03
04
58 days
6/4/2016 - 7/31/2016
Studying Literature, selection of EMG
electrodes & custom hand ordering.
44 days
7/27/2016 - 9/8/2016
Ordering of one sensor and testing of the sensor.
37 days
9/9/2016 - 10/15/2016
Ordering of 2 more sensors & simultaneous data dumping.
Ordering of the custom robotic Arm.
20 days
10/16/2016 - 11/4/2016
Extensive data dumping & detection of 3 Gestures.
52 days
11/3/2016 - 12/24/2016
Feature Extraction & working on classifier
32 days
1/2/2017 - 2/2/2017
Implementing machine learning for gesture detection
8 days
2/3/2017 - 2/10/2017
Testing on Robotic Arm for 10 Gestures
39 days
2/27/2017 - 4/6/2017
Signal Insertion for paralyzed persons

## Slide 25: REFERENCES
Undergraduate Final Year Project Presentation
Dated: November 9, 2016
[1] Surface Electromyography Signal Processing and Classification Techniques Rubana H. Chowdhury 1,*, Mamun B. I. Reaz 1 , Mohd Alauddin Bin Mohd Ali 1 , Ashrif A. A. Bakar 1 , Kalaivani Chellappan 1 and Tae G. Chang 2
[2] De Luca, Carlo J., “A Practicum on the Use of Surface EMG Signals in Movement Science”.
DELSYS. May, 2008.