## Slide 1: Power Factor Improvement Using Static VAR Compensator
Department of Electrical Engineering,
University of Engineering and Technology, Lahore
Group No: 2013-FYP-30
Project Advisor: Dr. Umer Tabrez Shami
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 2: Team Introduction
Muhammad Arshed (Team Leader)
2013-EE-138
Specialization: Power Engineering
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016
Sadia Naseer
2013-EE-58
Specialization: Power Engineering
Muhammad Sohail
2013-EE-96
Specialization: Power Engineering
Faheem Zafar
2013-EE-188
Specialization: Power Engineering

## Slide 3: Problem Statement
If the power factor is low then following problems occur:
  Useful power which is active power is low.
  Consumer has to face penalty.
  Generator which is supplying power, has to face more loading.
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 4: Problem Solution
The solution of these problems is to improve power factor, which can be done by three ways:
  Using Static VAR compensator
  Using Synchronous Condenser
  Using Phase Advancer
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 5: Problem Solution
We are using Static VAR Compensator for power factor improvement because:
  It has low losses
  It requires less maintenance as there is no rotating part
  It can be easily installed as it is light
  Below 500KVA rating, cost of synchronous condenser is greater than static VAR compensator
  Phase advancers are not economical for motor of ratings below 200HP
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 6: Block Diagram
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 7: Flow Diagram
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 8: Applications
Static VAR Compensator is used:
  For reactive power compensation
  For voltage stabilization
  For harmonic Reduction
  To increase the system capacity
  To increase productivity
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 9: Audience
Steel making plants
Grid stations
Cutting tool industries
Large rolling mills
Service feeders
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 10: What we have done so far?:
Simulation of voltage sampling module:
A variable resistor is used to adjust the value suitable for comparison at the controller.
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 11: What we have done so far?
Simulation of current sampling module:
  The simulation of current sampling module is shown below. A variable resistor is used to adjust the value of current suitable for comparison at the controller.
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 12: PCB Layout of Voltage Sampling Module
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 13: PCB Layout of Current Sampling Module
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 14: Hardware of current and voltage Sampling Module
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 15: Future Deliverables
Development of different sub modules for improving the power factor which consists of:
  Zero Crossing Detector
  Microcontroller & LCD interface (main board)
  Thyristor Module with relay control
  Capacitor bank
  Inductive bank
  GUI module
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 16: Gantt Chart
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016

## Slide 17: References
Haroon M. Rashid, 2015,. Power electronics devices, circuits and applications
V. Mehta K., Power System Analysis
Ware J., Power factor correction
http://en.wikipedia.org/wiki/StaticVARcompensator
Undergraduate Final Year Project Presentation
Dated: 8th November, 2016